# Watchdog Energy Management License Activation Guide

Offline licensing for version 2.3.1

MicroBrain by Fadi Assi

This guide explains the complete offline licensing process. The customer copies the Installation ID from the main Watchdog PC, MicroBrain generates a signed license file, and the customer imports that file. The Watchdog PC does not require internet access for activation.

# License rules

| Item | Rule |
| --- | --- |
| Free mode | Up to 5 active meters |
| Commercial capacity | 50, 100, 150 meters, and additional blocks of 50 |
| Computer binding | One license is valid only on the main Watchdog Windows PC whose Installation ID was used |
| Browser clients | Other computers and phones on the same LAN do not need separate licenses |
| Customer data | Removing or exceeding a license never deletes existing meters, readings, invoices, users, or settings |

# Part 1 Get the customer Installation ID

Install and start Watchdog Energy Management v2.3.1 on the customer's main Windows PC.

Sign in with an Administrator account.

Open the Settings menu at the top of the application.

Select License.

In the License status panel, find Installation ID and press Copy.

Send the complete Installation ID to MicroBrain. It begins with WD and contains six groups of five characters.

Installation ID format: Example only:

WD-XXXXX-XXXXX-XXXXX-XXXXX-XXXXX-XXXXX

Important: Copy the ID directly from the software. Do not type it manually because one incorrect character produces a license for the wrong installation.

# Part 2 Generate the signed license

Complete these steps only on the protected MicroBrain licensing PC that holds the private signing key.

Double-click Watchdog License Manager on the Windows Desktop.

Enter the customer, mall, or company name in Customer name.

Paste the complete Installation ID copied from the customer's Watchdog PC.

Select the purchased meter capacity. Licenses are issued in blocks of 50 meters.

Keep Commercial as the standard edition, unless the customer purchased another edition.

For a permanent license, leave License expires clear. For a time-limited license, select License expires and choose the final valid date.

Confirm that Private key points to watchdog-license-private.pem. The application normally selects it automatically.

Confirm the Save licenses in folder. Generated files are normally saved in private-license-authority\issued.

Press Generate signed license. A green confirmation displays the customer, meter capacity, License ID, and full file path.

Shortcut help: If the Desktop shortcut is missing, open the application directly from the following location:

private-license-authority\WatchdogLicenseManager\Watchdog License Manager.exe

## Choose the meter capacity

Select the capacity purchased by the customer:

| Selected capacity | Maximum active meters |
| --- | --- |
| 50 meters | 50 |
| 100 meters | 100 |
| 150 meters | 150 |
| 200 meters | 200 |

# Part 3 Check and send the license

Read the green confirmation and confirm the customer and meter capacity are correct.

Press Open output folder to show the generated .wdlicense file.

Press Verify license in Watchdog License Manager and select the new .wdlicense file.

Confirm that the green verification message shows Valid ECDSA license, the correct customer, Installation ID, capacity, and expiry.

Send only the .wdlicense file to the customer by a secure email or USB drive.

Security requirement: Never send, upload, or copy watchdog-license-private.pem to a customer. This is the MicroBrain master signing key. Anyone who obtains it can create unauthorized licenses.

# Part 4 Activate the license on the customer PC

Copy the .wdlicense file onto the customer's main Watchdog PC.

Open Watchdog Energy Management and sign in as Administrator.

Open Settings, then select License.

Under Import license, press Choose File or Browse.

Select the supplied .wdlicense file.

Press Import and activate license.

Wait for the confirmation message that the license was activated.

Confirm that the page displays Licensed, the correct customer name, and the purchased meter allowance.

# Part 5 Confirm meter activation

Open Settings, then Controller setup.

Open the required controller and meter channel.

Select Commissioned and active, then save the meter.

Repeat for the permitted meters. Watchdog blocks activation when the licensed capacity is reached.

# Troubleshooting

| Message or problem | What to do |
| --- | --- |
| License belongs to a different installation | Return to Settings and License on the customer PC, copy its current Installation ID, and generate a new license for that exact ID. |
| Digital signature is invalid | Do not edit the .wdlicense file. Generate it again using the original MicroBrain private key. |
| License has expired | Issue a replacement license with a future expiry date or issue a permanent license without the expires option. |
| Meter capacity reached | Issue a larger capacity in the next 50-meter block, then import the replacement license. |
| No License option | Confirm that version 2.3.1 or later is installed and that the user is signed in as Administrator. |
| Desktop shortcut is missing | Open private-license-authority\WatchdogLicenseManager and run Watchdog License Manager.exe. A new Desktop shortcut can also be created for this file. |
| Private key was not found | Press Browse beside Private key and select private-license-authority\watchdog-license-private.pem on the protected MicroBrain PC. |
| Generate button reports an invalid Installation ID | Copy the Installation ID again from the customer's Settings and License page. Paste the complete WD code without changing any character. |

# Private key protection

Keep watchdog-license-private.pem only on the protected MicroBrain licensing computer.

Maintain at least two encrypted backups in separate secure locations.

Never commit the private key to GitHub or include it in a customer installer.

Do not generate a replacement production key during normal updates. Replacing the public key would invalidate licenses already issued.

# License transfer to another computer

A license is tied to one Windows installation. If the customer replaces or reinstalls the main PC, copy the new Installation ID and issue a replacement license. Existing customer data should be restored separately using Watchdog Backup and Restore.